## Report
| Sheet Validation |  |  |  |  | SHEET COMPLETE
| Report | [11 empty] | Comments for Surveyors | Visibility | Sheet Validation to right | Check if any data is entered | Check if field needs to be completed
1 | [13 empty] | Always show
1 | [13 empty] | Always show
1 | Client Name And Site Details | [11 empty] | Will always show | Always show
1 | [13 empty] | Always show
1 | Finest Properties | [11 empty] | Will always show (pre-populated) | Always show |  | 1 | 0
1 | Clive House | [11 empty] | Will always show (pre-populated) | Always show |  | 1 | 0
1 | Appletree Lane | [11 empty] | Will always show (pre-populated) | Always show |  | 1 | 0
1 | Corbridge | [11 empty] | Will always show (pre-populated) | Always show |  | 1 | 0
1 | NE45 5DN | [11 empty] | Will always show (pre-populated) | Always show |  | 1 | 0
1 | Internal Reference ID: |  |  |  | PRONE455DN | [7 empty] | Will always show (pre-populated) | Always show |  | 1 | 0
1 | [13 empty] | Always show
1 | [13 empty] | Always show
1 | Weather Conditions | [11 empty] | Will always show | Always show
1 | Date of Inspection: | [5 empty] | 2025-11-21 | [5 empty] | ← Enter Data Here | Always show |  | 1 | 0
1 | The weather conditions were: | [5 empty] | Dry sunny | [5 empty] | ← Enter Data Here | Always show |  | 1 | 0
1 | The weather temperature was: | [5 empty] | 3 | (°C). |  |  |  |  | ← Enter Data Here | Always show |  | 1 | 0
1 | The Property | [11 empty] | Will always show | Always show
0 | Use the alt key and the mouse to 'snap' the image to the top and bottom of the cell for alignment. | [11 empty] | This line will NOT show on the report | Always Hide
0 | ↓ Image Section 1 ↓ | [11 empty] | This line will NOT show on the report | Always Hide
1 | [13 empty] | Always show
0 | Show | [8 empty] | Show |  |  | ← Enter Image Visibility | Determined by surveyor |  | 1 | 0
1 | [12 empty] | ← Add Images | Determined by surveyor
1 | Front Elevation | [8 empty] | Side Elevation |  |  | ← Enter Images Descriptions | Determined by surveyor |  | 1 | 0
1 | [13 empty] | Always show
0 | ↑ Image Section 1 ↑ | [11 empty] | This line will NOT show on the report | Always Hide
0 | ↓ Image Section 1 ↓ | [11 empty] | This line will NOT show on the report | Always Hide
1 | [13 empty] | Always show
0 | Show | [8 empty] | Hide |  |  | ← Enter Image Visibility | Determined by surveyor |  | 1 | 0
1 | [12 empty] | ← Add Images | Determined by surveyor
1 | Ensuite | [11 empty] | ← Enter Images Descriptions | Determined by surveyor |  | 1 | 0
1 | [13 empty] | Always show
0 | ↑ Image Section 1 ↑ | [11 empty] | This line will NOT show on the report | Always Hide
1 | The property is a: | [7 empty] | Stone and slate |  |  |  | ← Enter Data Here | Always show |  | 1 | 0
1 | The property is constructed of : | [7 empty] | Detached |  |  |  | ← Enter Data Here | Always show |  | 1 | 0
1 | The property was built approximately : | [7 empty] | 1800s |  |  |  | ← Enter Data Here | Always show |  | 1 | 0
1 | The Survey/Specific Defects Inspection | [11 empty] | Will always show | Always show
1 | In accordance with your specific instructions, we carried out a survey of the above property for problems with mould, mildew & condensation. | [11 empty] | Will always show | Always show
1 | Our findings and proposals are set out below and should be read in conjunction with the enclosed document 'General Notes for clients and Health and Safety precautions'. | [11 empty] | Will always show | Always show
1 | Orientation | [11 empty] | Will always show | Always show
1 | The terms left, right, front and rear are used in accordance with facing the front elevation from the outside of the building. | [11 empty] | Will always show | Always show
1 | The Scope | [11 empty] | Will always show | Always show
1 | Our specific defects inspection was solely to identify evidence of problems that you have requested us to inspect which was that of mould and condensation within the above property. | [11 empty] | Will always show | Always show
1 | Abbreviations Used In Report | [11 empty] | Will always show | Always show
1 | PIV = Positive Input Ventilation, ACM's = Asbestos containing materials. | [11 empty] | Will always show | Always show
1 | Internal Inspection | [11 empty] | ← Enter Visibility | Determined by surveyor
1 | During the internal inspection the following issues were noted: | [11 empty] | ← Enter Visibility | Determined by surveyor |  | 1 | 0
0 | • | Condensation, was apparent on the windows. | [10 empty] | ← Enter Visibility | Determined by surveyor |  | 1 | 0
1 | • | Areas of low temperature/poor air movement to the walls creating dew points. | [10 empty] | ← Enter Visibility | Determined by surveyor |  | 1 | 0
1 | • | Black spot mould was present within the building. | [10 empty] | ← Enter Visibility | Determined by surveyor |  | 1 | 0
1 | • | There was a lack of ventilation and air movement within the property. | [10 empty] | ← Enter Visibility | Determined by surveyor |  | 1 | 0
1 | • | We suspect poor insulation values due to solid brick walls. | [10 empty] | ← Enter Visibility | Determined by surveyor |  | 1 | 0
1 | • | Humidity readings were taken within the property, these readings peaked at | [8 empty] | 95 | %. | ← Enter humidity % Data Here | Determined by surveyor |  | 1 | 0
0 | • | Other not covered by above - (state below) | [10 empty] | This line will NOT show on the report | Always Hide
1 | • | Staining was noted to the ceiling below the main bathroom and black mould to a cold external wall. The mould to the wall is not related to the bathroom or the ceiling. | [10 empty] | ← Enter Visibility & Data | Determined by surveyor |  | 1 | 0
1 | • | Plumber to inspect and repair any leaks / damage to the ensuite | [10 empty] | ← Enter Visibility & Data | Determined by surveyor |  | 1 | 0
0 | • | [11 empty] | ← Enter Visibility & Data | Determined by surveyor |  | 1 | 0
0 | Use the alt key and the mouse to 'snap' the image to the top and bottom of the cell for alignment. | [11 empty] | This line will NOT show on the report | Always Hide
0 | ↓ Image Section 1 ↓ | [11 empty] | This line will NOT show on the report | Always Hide
1 | [13 empty] | Always show
0 | Show | [8 empty] | Show |  |  | ← Enter Image Visibility | Determined by surveyor |  | 1 | 0
1 | [12 empty] | ← Add Images | Determined by surveyor
1 | High humidity | [8 empty] | High humidity |  |  | ← Enter Images Descriptions | Determined by surveyor |  | 1 | 0
1 | [13 empty] | Always show
0 | ↑ Image Section 1 ↑ | [11 empty] | This line will NOT show on the report | Always Hide
0 | ↓ Image Section 2 ↓ | [11 empty] | This line will NOT show on the report | Always Hide
1 | [13 empty] | Always show
0 | Show | [8 empty] | Show |  |  | ← Enter Image Visibility | Determined by surveyor |  | 1 | 0
1 | [12 empty] | ← Add Images | Determined by surveyor
1 | Main Bedroom | [8 empty] | Bedroom |  |  | ← Enter Images Descriptions | Determined by surveyor |  | 1 | 0
1 | [13 empty] | Always show
0 | ↑ Image Section 2 ↑ | [11 empty] | This line will NOT show on the report | Always Hide
0 | ↓ Image Section 3 ↓ | [11 empty] | This line will NOT show on the report | Always Hide
0 | [13 empty] | Always show
0 | Hide | [8 empty] | Hide |  |  | ← Enter Image Visibility | Determined by surveyor |  | 0 | 0
0 | [12 empty] | ← Add Images | Determined by surveyor
0 | [12 empty] | ← Enter Images Descriptions | Determined by surveyor |  | 0 | 0
0 | [13 empty] | Always show
0 | ↑ Image Section 3 ↑ | [11 empty] | This line will NOT show on the report | Always Hide
1 | [13 empty] | Always show
1 | The above problems have been caused by: | [11 empty] | ← Enter Visibility | Determined by surveyor
0 | • | A lack of ventilation and air movement within the property. | [10 empty] | ← Enter Visibility | Determined by surveyor |  | 1 | 0
0 | • | Poor insulation values of solid brick walls. | [10 empty] | ← Enter Visibility | Determined by surveyor |  | 1 | 0
0 | • | Dampness within the fabric of the building. | [10 empty] | ← Enter Visibility | Determined by surveyor |  | 1 | 0
0 | • | Other not covered by above - (state below) | [10 empty] | This line will NOT show on the report | Always Hide
1 | • | Leaks from the ensuite. Plumber to inspect and repair. Main bathroom has caused staining to the ceiling below. | [10 empty] | ← Enter Visibility & Data | Determined by surveyor |  | 1 | 0
1 | • | Lack of ventilation and air movement with the property have caused elevated humidity levels within the building. | [10 empty] | ← Enter Visibility & Data | Determined by surveyor |  | 1 | 0
1 | • | It is our opinion that the current extraction and ventilation at the property does not provide sufficient ventilation | [10 empty] | ← Enter Visibility & Data | Determined by surveyor |  | 1 | 0
0 | Airbricks | [11 empty] | ← Enter Visibility | Determined by surveyor |  | 1 | 0
0 | There were no airbricks installed. | [11 empty] | ← Enter Visibility | Determined by surveyor |  | 1 | 0
0 | It was not possible to inspect the airbricks due to the following: | [11 empty] | ← Enter Visibility | Determined by surveyor |  | 1 | 0
0 | • | State below - ensure that images are taken of the obstructions to be added to the report. | [10 empty] | This line will NOT show on the report | Always Hide
0 | • | [11 empty] | ← Enter Visibility & Data | Determined by surveyor |  | 1 | 0
0 | • | [11 empty] | ← Enter Visibility & Data | Determined by surveyor |  | 1 | 0
0 | • | [11 empty] | ← Enter Visibility & Data | Determined by surveyor |  | 1 | 0
0 | Use the alt key and the mouse to 'snap' the image to the top and bottom of the cell for alignment. | [11 empty] | This line will NOT show on the report | Always Hide
0 | ↓ Image Section 1 ↓ | [11 empty] | This line will NOT show on the report | Always Hide
1 | [13 empty] | Always show
0 | Show | [8 empty] | Show |  |  | ← Enter Image Visibility | Determined by surveyor |  | 1 | 0
1 | [12 empty] | ← Add Images | Determined by surveyor
1 | Current extraction | [8 empty] | Current extraction |  |  | ← Enter Images Descriptions | Determined by surveyor |  | 1 | 0
1 | [13 empty] | Always show
0 | ↑ Image Section 1 ↑ | [11 empty] | This line will NOT show on the report | Always Hide
0 | ↓ Image Section 2 ↓ | [11 empty] | This line will NOT show on the report | Always Hide
1 | [13 empty] | Always show
0 | Show | [8 empty] | Show |  |  | ← Enter Image Visibility | Determined by surveyor |  | 1 | 0
1 | [12 empty] | ← Add Images | Determined by surveyor
1 | Current extraction | [8 empty] | Current extraction |  |  | ← Enter Images Descriptions | Determined by surveyor |  | 1 | 0
1 | [13 empty] | Always show
0 | ↑ Image Section 2 ↑ | [11 empty] | This line will NOT show on the report | Always Hide
0 | ↓ Image Section 3 ↓ | [11 empty] | This line will NOT show on the report | Always Hide
1 | [13 empty] | Always show
0 | Show | [8 empty] | Show |  |  | ← Enter Image Visibility | Determined by surveyor |  | 1 | 0
1 | [12 empty] | ← Add Images | Determined by surveyor
1 | Current extraction | [8 empty] | Current extraction |  |  | ← Enter Images Descriptions | Determined by surveyor |  | 1 | 0
1 | [13 empty] | Always show
0 | ↑ Image Section 3 ↑ | [11 empty] | This line will NOT show on the report | Always Hide
0 | ↓ Image Section 1 ↓ | [11 empty] | This line will NOT show on the report | Always Hide
1 | [13 empty] | Always show
0 | Show | [8 empty] | Show |  |  | ← Enter Image Visibility | Determined by surveyor |  | 1 | 0
1 | [12 empty] | ← Add Images | Determined by surveyor
1 | Plumber to inspect and repair any leaks to the ensuite to the bedroom | [8 empty] | Plumber to inspect and repair any leaks to the ensuite to the bedroom |  |  | ← Enter Images Descriptions | Determined by surveyor |  | 1 | 0
1 | [13 empty] | Always show
0 | ↑ Image Section 1 ↑ | [11 empty] | This line will NOT show on the report | Always Hide
0 | ↓ Image Section 2 ↓ | [11 empty] | This line will NOT show on the report | Always Hide
1 | [13 empty] | Always show
0 | Show | [8 empty] | Show |  |  | ← Enter Image Visibility | Determined by surveyor |  | 1 | 0
1 | [12 empty] | ← Add Images | Determined by surveyor
1 | Plumber to inspect and repair any leaks to the ensuite to the bedroom | [8 empty] | Plumber to inspect and repair any leaks to the ensuite to the bedroom |  |  | ← Enter Images Descriptions | Determined by surveyor |  | 1 | 0
1 | [13 empty] | Always show
0 | ↑ Image Section 2 ↑ | [11 empty] | This line will NOT show on the report | Always Hide
0 | ↓ Image Section 3 ↓ | [11 empty] | This line will NOT show on the report | Always Hide
1 | [13 empty] | Always show
0 | Show | [8 empty] | Show |  |  | ← Enter Image Visibility | Determined by surveyor |  | 1 | 0
1 | [12 empty] | ← Add Images | Determined by surveyor
1 | Plumber to inspect and repair any leaks to the ensuite to the bedroom | [8 empty] | Plumber to inspect and repair any leaks to the ensuite to the bedroom |  |  | ← Enter Images Descriptions | Determined by surveyor |  | 1 | 0
1 | [13 empty] | Always show
0 | ↑ Image Section 3 ↑ | [11 empty] | This line will NOT show on the report | Always Hide
0 | The property is ventilated by the following 'visible' number of airbricks: | [11 empty] | ← Enter Visibility | Determined by surveyor |  | 1 | 0
0 | • |  |  | To the front elevations | [8 empty] | ← Enter number of air bricks. | Determined by surveyor |  | 1 | 0
0 | • |  |  | To the left elevations | [8 empty] | ← Enter number of air bricks. | Determined by surveyor |  | 1 | 0
0 | • |  |  | To the right elevations | [8 empty] | ← Enter number of air bricks. | Determined by surveyor |  | 1 | 0
0 | • |  |  | To the rear elevations | [8 empty] | ← Enter number of air bricks. | Determined by surveyor |  | 1 | 0
0 | • |  |  | To the rear offshoot | [8 empty] | ← Enter number of air bricks. | Determined by surveyor |  | 1 | 0
0 | It is our opinion that the above airbricks are providing sufficient airflow to the property. | [11 empty] | Will be visible dependant on W/W % above. | Determined by surveyor
0 | It is our opinion that the above airbricks do not provide sufficient airflow to the property. | [11 empty] | Will be visible dependant on W/W % above. | Determined by surveyor
0 | During our inspection it was noted that some of the existing airbricks appeared to be blocked and may be providing insufficient airflow to the property. | [11 empty] | ← Enter Visibility | Determined by surveyor |  | 1 | 0
0 | During our inspection it was noted that some of the existing airbricks were installed too low to the external ground levels and may permit water ingress to the property. | [11 empty] | ← Enter Visibility | Determined by surveyor |  | 1 | 0
1 | Proposal | [11 empty] | ← Enter Visibility | Determined by surveyor
1 | We would propose for the following works to be carried out: | [11 empty] | ← Visibility dependant on below answers | Determined by surveyor |  | 1 | 0
1 | • | Supply and install a system of devices and measures to introduce fresh air and remove stale damp air. This system will reduce humidity levels and create air movement to combat the condensation problem within the property. | [10 empty] | ← Enter Visibility | Determined by surveyor |  | 1 | 0
1 | You will need the following services: | [11 empty] | ← Enter Visibility | Determined by surveyor |  | 1 | 0
1 | • | Supply & install of |  |  | 1 | loft mounted Dryair PIV heated unit(s) to the following area(s): | [6 empty] | ← Enter Visibility | Determined by surveyor |  | 1 | 0
1 | • |  | Loft area and diffusor to hallway celling | [9 empty] | ← Enter Visibility | Determined by surveyor |  | 1 | 0
0 | • | Supply & install of |  |  |  | loft mounted Dryair PIV unheated unit(s) to the following area(s): | [6 empty] | ← Enter Visibility | Determined by surveyor |  | 1 | 0
0 | • | [11 empty] | ← Enter Visibility | Determined by surveyor |  | 0 | 0
0 | • | Supply & install of |  |  |  | wall mounted Dryair PIV heated unit(s) to the following area(s): | [6 empty] | ← Enter Visibility | Determined by surveyor |  | 1 | 0
0 | • | [11 empty] | ← Enter Visibility | Determined by surveyor |  | 0 | 0
1 | • | Supply & install of |  |  | 5 | Humidistat trickle and boost fan(s) to the following area(s): | [6 empty] | ← Enter Visibility | Determined by surveyor |  | 1 | 0
1 | • |  | Upgrade the existing extractors at the property | [9 empty] | ← Enter Visibility | Determined by surveyor |  | 1 | 0
0 | • | Supply & install of |  |  |  | Dryair Cpass insulated pullcord passive vent fan(s) to the following area(s): | [6 empty] | ← Enter Visibility | Determined by surveyor |  | 1 | 0
0 | • | [11 empty] | ← Enter Visibility | Determined by surveyor |  | 0 | 0
0 | • | Supply & install of |  |  |  | Dryair Cvent(s) to the following area(s): | [6 empty] | ← Enter Visibility | Determined by surveyor |  | 1 | 0
0 | • | [11 empty] | ← Enter Visibility | Determined by surveyor |  | 0 | 0
1 | • | Supply and installation of any necessary electrical fittings/ducting/trunking/grilles required for the installation of Fans/PIVs/Vents (if applicable). | [10 empty] | ← Enter Visibility | Determined by surveyor |  | 1 | 0
0 | • | Diamond Core |  |  | 107mm hole(s). | [7 empty] | ← Enter Visibility | Determined by surveyor |  | 1 | 0
0 | • | Supply and install of |  |  |  | sark vent(s). | [6 empty] | ← Enter Visibility | Determined by surveyor |  | 1 | 0
0 | • | Supply and install of |  |  |  | air brick(s) to increase ventilation to the property. | [6 empty] | ← Enter Visibility | Determined by surveyor |  | 1 | 0
0 | • | Lift |  | of the existing air bricks. | [8 empty] | ← Enter number of air bricks | Determined by surveyor |  | 1 | 0
0 | • | Clean out of |  |  | existing air brick(s) by removing, cleaning and re-installing). | [7 empty] | ← Enter Visibility | Determined by surveyor |  | 1 | 0
0 | • | Supply materials and labour to box in and insulate ducting (to prevent condensation on ducting). | [10 empty] | ← Enter Visibility | Determined by surveyor |  | 1 | 0
0 | • | Supply and install of new loft hatch with sturdy fold down ladder, handrail and switched lamp. | [10 empty] | ← Enter Visibility | Determined by surveyor |  | 1 | 0
0 | • | Supply of labour and materials to enlarge current loft hatch. | [10 empty] | ← Enter Visibility | Determined by surveyor |  | 1 | 0
1 | • | Supply of labour and materials to treat and kill black mould (Any area treated for mould may require you to redecorate). | [10 empty] | ← Enter Visibility | Determined by surveyor |  | 1 | 0
0 | • | Customer to instruct a Roofing specialist to install external roof vents. | [10 empty] | ← Enter Visibility | Determined by surveyor |  | 1 | 0
0 | • | Electrical system not up to current standards: A check of your electrical system revealed that it was not up to current standards. We recommend that you contact a qualified electrician to upgrade your system before any installations can begin. | [10 empty] | ← Enter Visibility | Determined by surveyor |  | 1 | 0
0 | • | Asbestos testing: The ceiling/areas designated for the above installations is covered in Artex/decorative plasterwork. These applications can be Asbestos containing materials (ACMs). It will therefore be necessary to arrange a laboratory test to ascertain if ACMs are present prior to the commencement of works as these pose a serious risk to health. | [10 empty] | ← Enter Visibility | Determined by surveyor |  | 1 | 0
0 | ↓ Image Section 1 ↓ | [11 empty] | This line will NOT show on the report | Always Hide
1 | [13 empty] | Always show
0 | Show | [8 empty] | Hide |  |  | ← Enter Image Visibility | Determined by surveyor |  | 1 | 0
1 | [12 empty] | ← Add Images | Determined by surveyor
1 | Loft access | [11 empty] | ← Enter Images Descriptions | Determined by surveyor |  | 1 | 0
1 | [13 empty] | Always show
0 | ↑ Image Section 1 ↑ | [11 empty] | This line will NOT show on the report | Always Hide
1 | Additional Information: Benefits of PIV systems | [11 empty] | ← Visibility dependant on PIVs in the proposal | Always show
1 | For more information on the benefits of Positive Input Ventilation systems please visit the link below: | [11 empty] | ← Visibility dependant on PIVs in the proposal | Always show
1 | https://www.tyneteesdampproofing.co.uk/piv-video/ | [11 empty] | ← Visibility dependant on PIVs in the proposal | Always show
1 | Extent Of Survey | [11 empty] | Will always show | Always show
1 | You should be aware that we have reported upon condensation problems evident to us at the time of our inspection and in accordance with your instructions. If there are any omissions or if you believe that we have misinterpreted your survey instruction, please let us know at once. Our recommendations will be for improvements that will help to combat the problems reported and visible to our surveyor at the time of inspection. Please read carefully the content of this report and all of its enclosures. | [11 empty] | Will always show | Always show
1 | EXTERNAL INSPECTION | [11 empty] | Will always show | Always show
1 | Building Defects | [11 empty] | Will always show | Always show
0 | See Damp report for building defects. | [11 empty] | ← Enter Visibility | Determined by surveyor |  | 1 | 0
1 | No building defects were noted at the time of our inspection. | [11 empty] | ← Enter Visibility | Determined by surveyor |  | 1 | 0
0 | We noted the following building defects: | [11 empty] | Will be visible based on above input. | Determined by surveyor |  | 1 | 0
0 | • | Defective pointing to chimney stack | [10 empty] | ← Enter Visibility | Determined by surveyor |  | 1 | 0
0 | • | Defective flashings to chimney stack | [10 empty] | ← Enter Visibility | Determined by surveyor |  | 1 | 0
0 | • | Defective pointing to ridge tiles | [10 empty] | ← Enter Visibility | Determined by surveyor |  | 1 | 0
0 | • | Defective pointing to verge | [10 empty] | ← Enter Visibility | Determined by surveyor |  | 1 | 0
0 | • | Defective pointing to hips | [10 empty] | ← Enter Visibility | Determined by surveyor |  | 1 | 0
0 | • | Slipped roof slates | [10 empty] | ← Enter Visibility | Determined by surveyor |  | 1 | 0
0 | • | Loose roof slates | [10 empty] | ← Enter Visibility | Determined by surveyor |  | 1 | 0
0 | • | Missing roof slates | [10 empty] | ← Enter Visibility | Determined by surveyor |  | 1 | 0
0 | • | Defective rainwater goods | [10 empty] | ← Enter Visibility | Determined by surveyor |  | 1 | 0
0 | • | Blockage/vegetation to rainwater goods | [10 empty] | ← Enter Visibility | Determined by surveyor |  | 1 | 0
0 | • | Defective pointing to external walls | [10 empty] | ← Enter Visibility | Determined by surveyor |  | 1 | 0
0 | • | Perished external paintwork | [10 empty] | ← Enter Visibility | Determined by surveyor |  | 1 | 0
0 | • | Wet rot noted to external joinery timbers | [10 empty] | ← Enter Visibility | Determined by surveyor |  | 1 | 0
0 | • | Perished external brickwork | [10 empty] | ← Enter Visibility | Determined by surveyor |  | 1 | 0
0 | • | Defective perimeter joint | [10 empty] | ← Enter Visibility | Determined by surveyor |  | 1 | 0
0 | • | Cracks/movement to walls | [10 empty] | ← Enter Visibility | Determined by surveyor |  | 1 | 0
0 | • | Cracks/movement to lintels | [10 empty] | ← Enter Visibility | Determined by surveyor |  | 1 | 0
0 | • | Other not covered by above - (state below) | [10 empty] | This line will NOT show on the report | Always Hide
0 | • | [11 empty] | ← Enter Visibility & Data | Determined by surveyor |  | 1 | 0
0 | • | [11 empty] | ← Enter Visibility & Data | Determined by surveyor |  | 1 | 0
0 | • | [11 empty] | ← Enter Visibility & Data | Determined by surveyor |  | 1 | 0
0 | Use the alt key and the mouse to 'snap' the image to the top and bottom of the cell for alignment. | [11 empty] | This line will NOT show on the report | Always Hide
0 | ↓ Image Section 1 ↓ | [11 empty] | This line will NOT show on the report | Always Hide
0 | [13 empty] | Always show
0 | Hide | [8 empty] | Hide |  |  | ← Enter Image Visibility | Determined by surveyor |  | 0 | 0
0 | [12 empty] | ← Add Images | Determined by surveyor
0 | [12 empty] | ← Enter Images Descriptions | Determined by surveyor |  | 0 | 0
0 | [13 empty] | Always show
0 | ↑ Image Section 1 ↑ | [11 empty] | This line will NOT show on the report | Always Hide
0 | ↓ Image Section 2 ↓ | [11 empty] | This line will NOT show on the report | Always Hide
0 | [13 empty] | Always show
0 | Hide | [8 empty] | Hide |  |  | ← Enter Image Visibility | Determined by surveyor |  | 0 | 0
0 | [12 empty] | ← Add Images | Determined by surveyor
0 | [12 empty] | ← Enter Images Descriptions | Determined by surveyor |  | 0 | 0
0 | [13 empty] | Always show
0 | ↑ Image Section 2 ↑ | [11 empty] | This line will NOT show on the report | Always Hide
0 | ↓ Image Section 3 ↓ | [11 empty] | This line will NOT show on the report | Always Hide
0 | [13 empty] | Always show
0 | Hide | [8 empty] | Hide |  |  | ← Enter Image Visibility | Determined by surveyor |  | 0 | 0
0 | [12 empty] | ← Add Images | Determined by surveyor
0 | [12 empty] | ← Enter Images Descriptions | Determined by surveyor |  | 0 | 0
0 | [13 empty] | Always show
0 | ↑ Image Section 3 ↑ | [11 empty] | This line will NOT show on the report | Always Hide
0 | ↓ Image Section 4 ↓ | [11 empty] | This line will NOT show on the report | Always Hide
0 | [13 empty] | Always show
0 | Hide | [8 empty] | Hide |  |  | ← Enter Image Visibility | Determined by surveyor |  | 0 | 0
0 | [12 empty] | ← Add Images | Determined by surveyor
0 | [12 empty] | ← Enter Images Descriptions | Determined by surveyor |  | 0 | 0
0 | [13 empty] | Always show
0 | ↑ Image Section 4 ↑ | [11 empty] | This line will NOT show on the report | Always Hide
0 | ↓ Image Section 5 ↓ | [11 empty] | This line will NOT show on the report | Always Hide
0 | [13 empty] | Always show
0 | Hide | [8 empty] | Hide |  |  | ← Enter Image Visibility | Determined by surveyor |  | 0 | 0
0 | [12 empty] | ← Add Images | Determined by surveyor
0 | [12 empty] | ← Enter Images Descriptions | Determined by surveyor |  | 0 | 0
0 | [13 empty] | Always show
0 | ↑ Image Section 5 ↑ | [11 empty] | This line will NOT show on the report | Always Hide
0 | ↓ Image Section 6 ↓ | [11 empty] | This line will NOT show on the report | Always Hide
0 | [13 empty] | Always show
0 | Hide | [8 empty] | Hide |  |  | ← Enter Image Visibility | Determined by surveyor |  | 0 | 0
0 | [12 empty] | ← Add Images | Determined by surveyor
0 | [12 empty] | ← Enter Images Descriptions | Determined by surveyor |  | 0 | 0
0 | [13 empty] | Always show
0 | ↑ Image Section 6 ↑ | [11 empty] | This line will NOT show on the report | Always Hide
0 | The above items should be checked and addressed in the short term (3 months maximum) as they have been identified as possible causes of moisture ingress to the fabric of the building, failure to correct the defects may affect your guarantee. | [11 empty] | ← Enter Visibility | Determined by surveyor |  | 1 | 0
0 | The above items should be checked and addressed in the short term (3 months maximum) as they have been identified as possible causes of moisture ingress to the fabric of the building. | [11 empty] | ← Enter Visibility | Determined by surveyor |  | 1 | 0
0 | You should check your lease and find who is responsible for the upkeep of the roof, it is possible the upstairs flat may need to carry out the repairs or it could be shared cost. Whilst the roof repairs are not causing any problems with your property at present they may do so in future if not addressed. | [11 empty] | ← Enter Visibility | Determined by surveyor |  | 1 | 0
1 | Additional Supporting Comments From Surveyor | [11 empty] | ← Enter Visibility | Determined by surveyor |  | 1 | 0
1 | Prior repainting the ceiling you will have to have your painter apply a stain blocker to the ceiling otherwise the stain will reappear no matter how many times the ceiling is painted. | [11 empty] | ← Enter Visibility | Determined by surveyor |  | 1 | 0
1 | [13 empty] | Always show
1 | Report produced under the guidance of Tyne Tees Damp Proofing Ltd by: | [12 empty] | Always show
1 | [13 empty] | Always show
1 | Steven Robinson | [12 empty] | Show dependant on Surveyor
1 | Steve Robinson A.Inst.SSE. | [12 empty] | Show dependant on Surveyor
1 | Remedial Consultant | [12 empty] | Show dependant on Surveyor
0 | Graeme Hazel | [12 empty] | Show dependant on Surveyor
0 | Graeme Hazel | [12 empty] | Show dependant on Surveyor
0 | Remedial Consultant | [12 empty] | Show dependant on Surveyor
0 | Mike Davison | [12 empty] | Show dependant on Surveyor
0 | Mike Davison CSSW M.inst.SSE | [12 empty] | Show dependant on Surveyor
0 | Technical Director | [12 empty] | Show dependant on Surveyor
0 | Sketch Plan | [11 empty] | Will always show | Always show
0 | [12 empty] | Will always show | Always show
0 | [12 empty] | Will always show | Always show
0 | [12 empty] | Will always show | Always show
0 | [12 empty] | Will always show | Always show
0 | [12 empty] | Will always show | Always show
0 | [12 empty] | Will always show | Always show
0 | [12 empty] | Will always show | Always show
0 | [12 empty] | Will always show | Always show
0 | [12 empty] | Will always show | Always show
0 | [12 empty] | Will always show | Always show
0 | [12 empty] | Will always show | Always show
0 | [12 empty] | Will always show | Always show
0 | [12 empty] | Will always show | Always show
0 | [12 empty] | Will always show | Always show
0 | [12 empty] | Will always show | Always show
0 | [12 empty] | Will always show | Always show
0 | [12 empty] | Will always show | Always show
0 | [12 empty] | Will always show | Always show
0 | [12 empty] | Will always show | Always show
0 | [12 empty] | Will always show | Always show
0 | [12 empty] | Will always show | Always show
0 | [12 empty] | Will always show | Always show
0 | [12 empty] | Will always show | Always show
0 | [12 empty] | Will always show | Always show
0 | [12 empty] | Will always show | Always show
0 | [12 empty] | Will always show | Always show
0 | [12 empty] | Will always show | Always show
0 | [12 empty] | Will always show | Always show
0 | [12 empty] | Will always show | Always show
0 | [12 empty] | Will always show | Always show
0 | [12 empty] | Will always show | Always show
0 | [12 empty] | Will always show | Always show
0 | [12 empty] | Will always show | Always show
0 | [12 empty] | Will always show | Always show
0 | [12 empty] | Will always show | Always show
0 | [12 empty] | Will always show | Always show
0 | [12 empty] | Will always show | Always show
0 | [12 empty] | Will always show | Always show
0 | [12 empty] | Will always show | Always show
0 | [12 empty] | Will always show | Always show
0 | [12 empty] | Will always show | Always show
0 | [12 empty] | Will always show | Always show
0 | [12 empty] | Will always show | Always show
Office tasks when submitting an estimate
You need to attach the following items to the estimate:
• The Survey Inspection Report (generated from the Report tab in this document).
• Our Terms and Conditions (latest version always found in the folder '1.Current Documentation').
• General Notes for clients and Health and Safety precautions (latest version always found in the folder '1.Current Documentation').
Notes for office
Page Breaks:
To understand page breaks the link below will be of assistance:
https://support.microsoft.com/en-gb/office/insert-move-or-delete-page-breaks-in-a-worksheet-ad3dc726-beec-4a4c-861f-ed640612bdc2
Image Best Practices:
• Use the 'Alt' key to align an image to the bottom of the cell.
• To format an image right click on it to set the height and/or crop ( a good starting height is 6cm).
• Try to keep images the same height especially if on the same row and ensure you use the 'alt' key to align the image to the bottom of the cell.
• Try and keep the images a fraction smaller than the cell height to prevent overspill if the image cell falls on a page break.
• Try and keep the images centrally above their descriptions.

## Costing
Sheet Validation |  |  | SHEET COMPLETE | [18 empty] | Sheet Validation to right | Check if any data is entered | Check if field needs to be completed
Enquiry Details
Enquiry number |  |  | PRONE455DN | [19 empty] | 1 | 0
Site Details
Client Name |  |  | Finest Properties | [19 empty] | 1 | 0
First Line of site address |  |  | Clive House | [19 empty] | 1 | 0
Town / City |  |  | Appletree Lane | [19 empty] | 1 | 0
County |  |  | Corbridge | [19 empty] | 1 | 0
Site Post Code |  |  | NE45 5DN | [19 empty] | 1 | 0
Survey Carried Out By
Surveyor |  |  | Steven Robinson | [19 empty] | 1 | 0
CONDENSATION SHEET
Materials |  |  |  | Area/No. | UOM | Default Mats Cost | Adjusted Mats Cost | M/U | Mats Tot |  | Labour | Hour Mult | Total Hours | Default Lab Cost | Adjusted Lab Cost | LMU | Lab Total | Line total | Contractor Materials | Contractor hours pay
PIV - LOFT UNIT | [10 empty] | PIV - LOFT UNIT | [7 empty] | PIV - LOFT UNIT
VA Pozidry loft unit - heated |  |  |  | 1 | Each | 324.13 | 307.9235 | 40% | 431.0929 |  | VA Pozidry loft unit - heated | 2.5 | 2.5 | 30.63 | 29.0985 | 400% | 363.7313 | 794.8242 | 356.543 | 70 |  |  | 1 | 0
VA Pozidry loft unit - unheated |  |  |  | 0 | Each | 309.96 | 294.462 | 40% | 0 |  | VA Pozidry loft unit - unheated | 2.5 | 0 | 30.63 | 29.0985 | 400% | 0 | 0 | 0 | 0 |  |  | 1 | 0
Electrical Pack - fused spur, cable, JB |  |  |  | 0 | Each | 12.46 | 11.837 | 30% | 0 | 0.25 | Electrical Pack - fused spur, cable, JB | 1.5 | 0 | 30.63 | 29.0985 | 100% | 0 | 0 | 0 | 0 |  |  | 1 | 0
Sarkvents |  |  |  | 0 | Each | 3 | 2.85 | 30% | 0 | 0.25 | Sarkvents | 0.08 | 0 | 30.63 | 29.0985 | 100% | 0 | 0 | 0 | 0 |  |  | 1 | 0
Section Price Adjustment % |  |  |  | -5 |  |  |  | Totals | 431.0929 |  | Totals |  | 2.5 |  |  |  | 363.7313 | 794.8242 | 356.543 | 70
PIV - WALL MOUNTED UNIT | [10 empty] | PIV - WALL MOUNTED UNIT | [7 empty] | PIV - WALL MOUNTED UNIT
VA Pozidry Compact wall mounted unit |  |  |  | 0 | Each | 273.74 | 273.74 | 40% | 0 | 0.75 | VA Pozidry Compact wall mounted unit | 4 | 0 | 30.63 | 30.63 | 300% | 0 | 0 | 0 | 0 |  |  | 1 | 0
Electrical Pack - fused spur, cable, JB |  |  |  | 0 | Each | 12.46 | 12.46 | 30% | 0 | 0.25 | Electrical Pack - fused spur, cable, JB | 1.5 | 0 | 30.63 | 30.63 | 100% | 0 | 0 | 0 | 0 |  |  | 1 | 0
Ducting - 1m length |  |  |  | 0 | Each | 3.85 | 3.85 | 30% | 0 | 0.25 | Ducting - 1m length | 0.1 | 0 | 30.63 | 30.63 | 100% | 0 | 0 | 0 | 0 |  |  | 1 | 0
Ducting - round elbow |  |  |  | 0 | Each | 2.78 | 2.78 | 30% | 0 | 0.25 | Ducting - round elbow | 0.1 | 0 | 30.63 | 30.63 | 100% | 0 | 0 | 0 | 0 |  |  | 1 | 0
Ducting - round - straight conn |  |  |  | 0 | Each | 0.52 | 0.52 | 30% | 0 | 0.25 | Ducting - round - straight conn | 0.1 | 0 | 30.63 | 30.63 | 100% | 0 | 0 | 0 | 0 |  |  | 1 | 0
Ducting - round 1m |  |  |  | 0 | Each | 3.85 | 3.85 | 30% | 0 | 0.25 | Ducting - round 1m | 0.1 | 0 | 30.63 | 30.63 | 100% | 0 | 0 | 0 | 0 |  |  | 1 | 0
Ducting - flat to round adaptor |  |  |  | 0 | Each | 1.63 | 1.63 | 30% | 0 | 0.25 | Ducting - flat to round adaptor | 0.1 | 0 | 30.63 | 30.63 | 100% | 0 | 0 | 0 | 0 |  |  | 1 | 0
Ducting - flat straight connector |  |  |  | 0 | Each | 1.14 | 1.14 | 30% | 0 | 0.25 | Ducting - flat straight connector | 0.1 | 0 | 30.63 | 30.63 | 100% | 0 | 0 | 0 | 0 |  |  | 1 | 0
Ducting - flat horizontal bend |  |  |  | 0 | Each | 3.01 | 3.01 | 30% | 0 | 0.25 | Ducting - flat horizontal bend | 0.1 | 0 | 30.63 | 30.63 | 100% | 0 | 0 | 0 | 0 |  |  | 1 | 0
Ducting - flat vertical bend |  |  |  | 0 | Each | 3.01 | 3.01 | 30% | 0 | 0.25 | Ducting - flat vertical bend | 0.1 | 0 | 30.63 | 30.63 | 100% | 0 | 0 | 0 | 0 |  |  | 1 | 0
Ducting - flat - 1m |  |  |  | 0 | Each | 2.87 | 2.87 | 30% | 0 | 0.25 | Ducting - flat - 1m | 0.1 | 0 | 30.63 | 30.63 | 100% | 0 | 0 | 0 | 0 |  |  | 1 | 0
Ducting - insulated flexi (3m Length) |  |  |  | 0 | Each | 2.5 | 2.5 | 30% | 0 | 0.25 | Ducting - insulated flexi (3m Length) | 0.1 | 0 | 30.63 | 30.63 | 100% | 0 | 0 | 0 | 0 |  |  | 1 | 0
Grille |  |  |  | 0 | Each | 2.42 | 2.42 | 30% | 0 | 0.25 | Grille | 0.1 | 0 | 30.63 | 30.63 | 100% | 0 | 0 | 0 | 0 |  |  | 1 | 0
Diamond core 107mm hole |  |  |  | 0 | Each | 0 | 0 | 30% | 0 | 0.25 | Diamond core 107mm hole | 2 | 0 | 30.63 | 30.63 | 100% | 0 | 0 | 0 | 0 |  |  | 1 | 0
Section Price Adjustment % |  |  |  | 0 |  |  |  | Totals | 0 |  | Totals |  | 0 |  |  |  | 0 | 0 | 0 | 0
TRICKLE AND BOOST HUMIDISTAT FAN | [10 empty] | TRICKLE AND BOOST HUMIDISTAT FAN | [7 empty] | TRICKLE AND BOOST HUMIDISTAT FAN
Trickle and boost humidistat fan (greenwood) |  |  |  | 5 | Each | 70.2 | 70.2 | 30% | 456.3 | 0.75 | Trickle and boost humidistat fan (greenwood) | 1.5 | 7.5 | 30.63 | 30.63 | 100% | 459.45 | 915.75 | 386.1 | 210 |  |  | 1 | 0
Electrical Pack - fused spur, cable, JB |  |  |  | 0 | Each | 12.46 | 12.46 | 30% | 0 | 0.25 | Electrical Pack - fused spur, cable, JB | 1.5 | 0 | 30.63 | 30.63 | 100% | 0 | 0 | 0 | 0 |  |  | 1 | 0
Grille |  |  |  | 0 | Each | 2.42 | 2.42 | 30% | 0 | 0.25 | Grille | 0.1 | 0 | 30.63 | 30.63 | 100% | 0 | 0 | 0 | 0 |  |  | 1 | 0
Diamond core 107mm hole |  |  |  | 0 | Each | 0 | 0 | 30% | 0 | 0.25 | Diamond core 107mm hole | 2 | 0 | 30.63 | 30.63 | 100% | 0 | 0 | 0 | 0 |  |  | 1 | 0
Section Price Adjustment % |  |  |  | 0 |  |  |  | Totals | 456.3 |  | Totals |  | 7.5 |  |  |  | 459.45 | 915.75 | 386.1 | 210
DRYAIRE CPASS (PLASMO) INSULATED PULLCORD PASSIVE VENT | [10 empty] | DRYAIRE CPASS (PLASMO) INSULATED PULLCORD PASSIVE VENT | [7 empty] | DRYAIRE CPASS (PLASMO) INSULATED PULLCORD PASSIVE VENT
Dryaire Cpass (plasmo) insulated pullcord passive vent |  |  |  | 0 | Each | 36.18 | 36.18 | 30% | 0 | 0.75 | Dryaire Cpass (plasmo) insulated pullcord passive vent | 1.5 | 0 | 30.63 | 30.63 | 100% | 0 | 0 | 0 | 0 |  |  | 1 | 0
Diamond core 107mm hole |  |  |  | 0 | Each | 0 | 0 | 30% | 0 | 0.25 | Diamond core 107mm hole | 2 | 0 | 30.63 | 30.63 | 100% | 0 | 0 | 0 | 0 |  |  | 1 | 0
Section Price Adjustment % |  |  |  | 0 |  |  |  | Totals | 0 |  | Totals |  | 0 |  |  |  | 0 | 0 | 0 | 0
Dryaire Cvent | [10 empty] | Dryaire Cvent | [7 empty] | Dryaire Cvent
Dryaire Cvent |  |  |  | 0 | Each | 12.5 | 12.5 | 30% | 0 | 0.75 | Dryaire Cvent | 1.5 | 0 | 30.63 | 30.63 | 100% | 0 | 0 | 0 | 0 |  |  | 1 | 0
Diamond core 107mm hole |  |  |  | 0 | Each | 0 | 0 | 30% | 0 | 0.25 | Diamond core 107mm hole | 2 | 0 | 30.63 | 30.63 | 100% | 0 | 0 | 0 | 0 |  |  | 1 | 0
Section Price Adjustment % |  |  |  | 0 |  |  |  | Totals | 0 |  | Totals |  | 0 |  |  |  | 0 | 0 | 0 | 0
Joinery: Supply and fit boxwork for ducting | [10 empty] | Joinery: Supply and fit boxwork for ducting | [7 empty] | Joinery: Supply and fit boxwork for ducting
Joinery to box in ducting (per metre) Min charge 2.4 metres |  |  |  | 0 | LM | 0 | 0 | 30% | 0 |  | Joinery to box in ducting (per metre) Min charge 2.4 metres | 0.5 | 0 | 30.63 | 30.63 | 100% | 0 | 0 | 0 | 0 | Optional Item For Customer |  | 1 | 0
Section Price Adjustment % |  |  |  | 0 |  |  |  | Totals | 0 |  | Totals |  | 0 |  |  |  | 0 | 0 | 0 | 0
Loft hatch - new hatchwith sturdy fold down ladder with handrail and switched lamp | [10 empty] | Loft hatch - new hatchwith sturdy fold down ladder with handrail and switched lamp | [7 empty] | Loft hatch - new hatchwith sturdy fold down ladder with handrail and switched lamp
New loft hatch - with sturdy fold down ladder with handrail and switched lamp |  |  |  | 0 | Each | 360 | 360 | 30% | 0 |  | New loft hatch - with sturdy fold down ladder with handrail and switched lamp | 4 | 0 | 30.63 | 30.63 | 100% | 0 | 0 | 0 | 0 | Optional Item For Customer |  | 1 | 0
Section Price Adjustment % |  |  |  | 0 |  |  |  | Totals | 0 |  | Totals |  | 0 |  |  |  | 0 | 0 | 0 | 0
Loft Hatch - enlarge current loft hatch | [10 empty] | Loft Hatch - enlarge current loft hatch | [7 empty] | Loft Hatch - enlarge current loft hatch
Existing loft hatch - enlarge loft hatch |  |  |  | 0 | Each | 45 | 45 | 30% | 0 |  | Existing loft hatch - enlarge loft hatch | 4 | 0 | 30.63 | 30.63 | 100% | 0 | 0 | 0 | 0 | Optional Item For Customer |  | 1 | 0
Section Price Adjustment % |  |  |  | 0 |  |  |  | Totals | 0 |  | Totals |  | 0 |  |  |  | 0 | 0 | 0 | 0
Mould Treatments | [10 empty] | Mould Treatments | [7 empty] | Mould Treatments
Mould treatment |  |  |  | 6 | M2 | 0.5 | 0.5 | 30% | 3.9 |  | Mould treatment | 0.25 | 1.5 | 30.63 | 30.63 | 100% | 91.89 | 95.79 | 3.3 | 42 | Optional Item For Customer |  | 1 | 0
Section Price Adjustment % |  |  |  | 0 |  |  |  | Totals | 3.9 |  | Totals |  | 1.5 |  |  |  | 91.89 | 95.79 | 3.3 | 42
Asbestos Testing | [10 empty] | Asbestos Testing | [7 empty] | Asbestos Testing
Asbestos Testing |  |  |  | 0 | Each | 30 | 30 | 30% | 0 |  | Asbestos Testing | 0.64 | 0 | 30.63 | 30.63 | 100% | 0 | 0 | 0 | 0 | Optional Item For Customer |  | 1 | 0
Section Price Adjustment % |  |  |  | 0 |  |  |  | Totals | 0 |  | Totals |  | 0 |  |  |  | 0 | 0 | 0 | 0
Airbricks | [10 empty] | Airbricks | [7 empty] | Airbricks
Clean out airbrick/fit new face |  |  |  | 0 | Each | 16 | 16 | 30% | 0 |  | Clean out airbrick/fit new face | 0.5 | 0 | 30.63 | 30.63 | 100% | 0 | 0 | 0 | 0 |  |  | 1 | 0
Lift/upgrade existing airbrick/fit new face |  |  |  | 0 | Each | 16 | 16 | 30% | 0 |  | Lift/upgrade existing airbrick/fit new face | 0.8 | 0 | 30.63 | 30.63 | 100% | 0 | 0 | 0 | 0 |  |  | 1 | 0
Install additional airbrick |  |  |  | 0 | Each | 16 | 16 | 30% | 0 |  | Install additional airbrick | 2 | 0 | 30.63 | 30.63 | 100% | 0 | 0 | 0 | 0 |  |  | 1 | 0
Section Price Adjustment % |  |  |  | 0 |  |  |  | Totals | 0 |  | Totals |  | 0 |  |  |  | 0 | 0 | 0 | 0
Skip hire 8yd | [10 empty] | Skip hire 8yd | [7 empty] | Skip hire 8yd
Rubbish removal skips |  |  |  | 0 | Each | 270 | 270 | 30% | 0 |  | Rubbish removal skips | 0 | 0 | 30.63 | 30.63 | 100% | 0 | 0 | 0 | 0 |  |  | 1 | 0
|  |  | Materials sub tot | [5 empty] | 891.2929 |  | TT Totals | [7 empty] | Contractor Totals
|  |  | Labour sub tot |  |  | 11.5 |  |  | 915.0713 |  | Labour hours sub total |  | 11.5 | [5 empty] | 745.943 | 322
[6 empty] | Travel |  |  | 139.932 |  | Hours travel |  | 3.0667
[6 empty] | Price |  |  | 1946.2962 |  | Total hours |  | 14.5667 | [5 empty] | Travel | 41.4
[6 empty] | Vat |  |  | 389.2592 | [9 empty] | Tot | 1109.343
[6 empty] | Total price inc vat |  |  | 2335.5554
For Office Only
[8 empty] | No of days | 2
[8 empty] | Distance from office to job (one way) | 23 |  | The value of the csv import on upload should match the figures to the right (this may be less than the totals to the left as optional items are are not calculated up on the import until the customer selects them) | [5 empty] | Sub Total |  | 1946.2962 |  |  |  | 1 | 0
[8 empty] | No of men travelling | 1 | [7 empty] | Tax: VAT (20%) |  | 389.2592 |  |  |  | 1 | 0
[17 empty] | Total |  | 2335.5554
Choose Estimate Cover Sheet Image To Use (dropdown) |  |  |  | Image 1: Default or Miscellaneous | [6 empty] | View Images (this link will take you to the the Estimates Coversheet Images Tab) | [11 empty] | 1 | 0
Survey sheet end
| Base Travel Hourly rate | Base Labour Hourly rate | Contractor Labour Hourly rate | Approx Travel cost
|  |  |  | Hours |  | mens travel |  | Vehicle cost | Total
| 30.63 | 30.63 | 28 | 3.0667 |  | 93.932 |  | 0.5 | 139.932

## Customer Summary
Customer Pricing Summary
# | Area of Works | Optional Item? | Price (Without Optional items) | Price (With Optional Items)
1 | Condensation control: Supply and install Loft Dryaire system & required accessories | No | 794.8242 | 794.8242
2 | Condensation control: Supply and install Wall Mounted Dryaire system & required accessories | No | n/a | n/a
3 | Condensation control: Supply and install Trickle & Boost Fan | No | 915.75 | 915.75
4 | Condensation control: Supply and install Dryaire Cpass Insulated Pullcord Passive Vent | No | n/a | n/a
5 | Condensation control: Supply and install Dryaire CVent | No | n/a | n/a
6 | Joinery: Supply and fit boxwork for ducting | Yes | Optional | n/a
7 | New hatch and ladder: Create larger opening, install new sturdy hatch and ladder to loft entry | Yes | Optional | n/a
8 | Loft opening: Enlarge existing loft opening and install new hatch lid | Yes | Optional | n/a
9 | Remedial treatments: Mould treatment | No | 95.79 | 95.79
10 | Asbestos Testing | Yes | Optional | n/a
11 | Airbricks | No | n/a | n/a
12 | Project Specific Overheads | No | 139.932 | 139.932
Totals
| Sub Total |  | 1946.2961 | 1946.2961
| Vat at 20% |  | 389.2592 | 389.2592
| Total |  | 2335.5554 | 2335.5554
| Start of works deposit at 50% | Ex. VAT | 973.1481 | 973.1481
|  | Inc. VAT | 1167.7777 | 1167.7777

## Office Notes
Add notes below that the office need to consider when compiling the estimate and report.

## CAF1 Form
On Site Acceptance Form (CAF1).
Enquiry ID:
Client Name
Address 1
Address 2
Address 3
Address 4
Postcode
I wish to proceed with the woks specified below. (tick items required and total cost)
Operation | Price | Tick
Damp Proofing
Timber treatments/replacements
Condensation
Wall Ties
Other works
Subtotal
VAT
Total
Deposit
I accept the company terms and conditions of contract which I have viewed at the link below and I have paid my deposit with this order.
https://www.tyneteesdampproofing.co.uk/terms-and-conditions/
I wish the work to commence before the 14 day cooling off period and waive my consumer rights (please sign to confirm)
Signed: | Date:

## Sub Contractor Costs
Sub Contractor Costs
Project Details
Enquiry number |  | PRONE455DN
Client Name |  | Finest Properties
First Line of site address |  | Clive House
Town / City |  | Appletree Lane
County |  | Corbridge
Site Post Code |  | NE45 5DN
# | Area of Works | Costs (Ex VAT) | Assigned to / Comments: | Total Projected Hours
1 | Condensation control: Supply and install Loft Dryaire system & required accessories | 70 |  | 2.5
2 | Condensation control: Supply and install Wall Mounted Dryaire system & required accessories | 0 |  | 0
3 | Condensation control: Supply and install Trickle & Boost Fan | 210 |  | 7.5
4 | Condensation control: Supply and install Dryaire Cpass Insulated Pullcord Passive Vent | 0 |  | 0
5 | Condensation control: Supply and install Dryaire CVent | 0 |  | 0
6 | Joinery: Supply and fit boxwork for ducting | 0 |  | 0
7 | New hatch and ladder: Create larger opening, install new sturdy hatch and ladder to loft entry | 0 |  | 0
8 | Loft opening: Enlarge existing loft opening and install new hatch lid | 0 |  | 0
9 | Remedial treatments: Mould treatment | 42 |  | 42
10 | Asbestos Testing | 0 |  | 0
11 | Airbricks | 0 |  | 0
| Total | 322 |  | 52
Copy and paste this into the email subject.
Copy and paste this whole section into the email body.
Copy and paste this into the email subject.
Copy and paste this whole section into the email body.
Not part of print area

## CF CSV Upload
Section | Section Description | Item Name | Quantity | Unit Cost | Unit | Cost Code | Markup | Markup Type | Item Type | Is Taxable | Is Optional | Assigned To | CF IGNORE - LINE VALUE | CF IGNORE - Zero value Section Validation | CF IGNORE - LINE VALUE FOR CUSTOMER SUMMARY | CF IGNORE - INCLUDE PRICE IN CUSTOMER SUMMARY
Condensation control: Supply and install Loft Dryaire system & required accessories |  | VA Pozidry loft unit - heated | 1 | 307.9235 | Each | Condensation Materials | 40 | % | MTL | Yes | No | Preservation Shop | 307.9235 | DELETE | 431.0929 | No
Condensation control: Supply and install Loft Dryaire system & required accessories |  | VA Pozidry loft unit - unheated | 0 | 294.462 | Each | Condensation Materials | 40 | % | MTL | Yes | No | Preservation Shop | 0 | DELETE | 0 | No
Condensation control: Supply and install Loft Dryaire system & required accessories |  | Electrical Pack - fused spur, cable, JB | 0 | 11.837 | Each | Condensation Materials | 30 | % | MTL | Yes | No | Preservation Shop | 0 | DELETE | 0 | No
Condensation control: Supply and install Loft Dryaire system & required accessories |  | Sarkvents | 0 | 2.85 | Each | Condensation Materials | 30 | % | MTL | Yes | No | Preservation Shop | 0 | DELETE | 0 | No
Condensation control: Supply and install Loft Dryaire system & required accessories |  | VA Pozidry loft unit - heated | 2.5 | 29.0985 | Hours | Condensation Labour | 400 | % | LBR | Yes | No |  | 72.7463 | DELETE | 363.7313 | No
Condensation control: Supply and install Loft Dryaire system & required accessories |  | VA Pozidry loft unit - unheated | 0 | 29.0985 | Hours | Condensation Labour | 400 | % | LBR | Yes | No |  | 0 | DELETE | 0 | No
Condensation control: Supply and install Loft Dryaire system & required accessories |  | Electrical Pack - fused spur, cable, JB | 0 | 29.0985 | Hours | Condensation Labour | 100 | % | LBR | Yes | No |  | 0 | DELETE | 0 | No
Condensation control: Supply and install Loft Dryaire system & required accessories |  | Sarkvents | 0 | 29.0985 | Hours | Condensation Labour | 100 | % | LBR | Yes | No |  | 0 | DELETE | 0 | No
Condensation control: Supply and install Loft Dryaire system & required accessories |  | Condensation control: Supply and install Loft Dryaire system & required accessories - Materials | 1 | 307.9235 | EACH | Condensation Materials | 40 | % | MTL | Yes | No | Preservation Shop | 307.9235 | LEAVE | 431.0929 | Yes
Condensation control: Supply and install Loft Dryaire system & required accessories |  | Condensation control: Supply and install Loft Dryaire system & required accessories - Labour | 2.5 | 29.0985 | Hours | Condensation Labour | 400 | % | LBR | Yes | No |  | 72.7463 | LEAVE | 363.7313 | Yes
DELETE
Condensation control: Supply and install Wall Mounted Dryaire system & required accessories |  | VA Pozidry Compact wall mounted unit | 0 | 273.74 | Each | Condensation Materials | 40 | % | MTL | Yes | No | Preservation Shop | 0 | DELETE | 0 | No
Condensation control: Supply and install Wall Mounted Dryaire system & required accessories |  | Electrical Pack - fused spur, cable, JB | 0 | 12.46 | Each | Condensation Materials | 30 | % | MTL | Yes | No | Preservation Shop | 0 | DELETE | 0 | No
Condensation control: Supply and install Wall Mounted Dryaire system & required accessories |  | Ducting - 1m length | 0 | 3.85 | Each | Condensation Materials | 30 | % | MTL | Yes | No | Preservation Shop | 0 | DELETE | 0 | No
Condensation control: Supply and install Wall Mounted Dryaire system & required accessories |  | Ducting - round elbow | 0 | 2.78 | Each | Condensation Materials | 30 | % | MTL | Yes | No | Preservation Shop | 0 | DELETE | 0 | No
Condensation control: Supply and install Wall Mounted Dryaire system & required accessories |  | Ducting - round - straight conn | 0 | 0.52 | Each | Condensation Materials | 30 | % | MTL | Yes | No | Preservation Shop | 0 | DELETE | 0 | No
Condensation control: Supply and install Wall Mounted Dryaire system & required accessories |  | Ducting - round 1m | 0 | 3.85 | Each | Condensation Materials | 30 | % | MTL | Yes | No | Preservation Shop | 0 | DELETE | 0 | No
Condensation control: Supply and install Wall Mounted Dryaire system & required accessories |  | Ducting - flat to round adaptor | 0 | 1.63 | Each | Condensation Materials | 30 | % | MTL | Yes | No | Preservation Shop | 0 | DELETE | 0 | No
Condensation control: Supply and install Wall Mounted Dryaire system & required accessories |  | Ducting - flat straight connector | 0 | 1.14 | Each | Condensation Materials | 30 | % | MTL | Yes | No | Preservation Shop | 0 | DELETE | 0 | No
Condensation control: Supply and install Wall Mounted Dryaire system & required accessories |  | Ducting - flat horizontal bend | 0 | 3.01 | Each | Condensation Materials | 30 | % | MTL | Yes | No | Preservation Shop | 0 | DELETE | 0 | No
Condensation control: Supply and install Wall Mounted Dryaire system & required accessories |  | Ducting - flat vertical bend | 0 | 3.01 | Each | Condensation Materials | 30 | % | MTL | Yes | No | Preservation Shop | 0 | DELETE | 0 | No
Condensation control: Supply and install Wall Mounted Dryaire system & required accessories |  | Ducting - flat - 1m | 0 | 2.87 | Each | Condensation Materials | 30 | % | MTL | Yes | No | Preservation Shop | 0 | DELETE | 0 | No
Condensation control: Supply and install Wall Mounted Dryaire system & required accessories |  | Ducting - insulated flexi (3m Length) | 0 | 2.5 | Each | Condensation Materials | 30 | % | MTL | Yes | No | Preservation Shop | 0 | DELETE | 0 | No
Condensation control: Supply and install Wall Mounted Dryaire system & required accessories |  | Grille | 0 | 2.42 | Each | Condensation Materials | 30 | % | MTL | Yes | No | Preservation Shop | 0 | DELETE | 0 | No
Condensation control: Supply and install Wall Mounted Dryaire system & required accessories |  | Diamond core 107mm hole | 0 | 0 | Each | Condensation Materials | 30 | % | MTL | Yes | No | Preservation Shop | 0 | DELETE | 0 | No
Condensation control: Supply and install Wall Mounted Dryaire system & required accessories |  | VA Pozidry Compact wall mounted unit | 0 | 30.63 | Hours | Condensation Labour | 300 | % | LBR | Yes | No |  | 0 | DELETE | 0 | No
Condensation control: Supply and install Wall Mounted Dryaire system & required accessories |  | Electrical Pack - fused spur, cable, JB | 0 | 30.63 | Hours | Condensation Labour | 100 | % | LBR | Yes | No |  | 0 | DELETE | 0 | No
Condensation control: Supply and install Wall Mounted Dryaire system & required accessories |  | Ducting - 1m length | 0 | 30.63 | Hours | Condensation Labour | 100 | % | LBR | Yes | No |  | 0 | DELETE | 0 | No
Condensation control: Supply and install Wall Mounted Dryaire system & required accessories |  | Ducting - round elbow | 0 | 30.63 | Hours | Condensation Labour | 100 | % | LBR | Yes | No |  | 0 | DELETE | 0 | No
Condensation control: Supply and install Wall Mounted Dryaire system & required accessories |  | Ducting - round - straight conn | 0 | 30.63 | Hours | Condensation Labour | 100 | % | LBR | Yes | No |  | 0 | DELETE | 0 | No
Condensation control: Supply and install Wall Mounted Dryaire system & required accessories |  | Ducting - round 1m | 0 | 30.63 | Hours | Condensation Labour | 100 | % | LBR | Yes | No |  | 0 | DELETE | 0 | No
Condensation control: Supply and install Wall Mounted Dryaire system & required accessories |  | Ducting - flat to round adaptor | 0 | 30.63 | Hours | Condensation Labour | 100 | % | LBR | Yes | No |  | 0 | DELETE | 0 | No
Condensation control: Supply and install Wall Mounted Dryaire system & required accessories |  | Ducting - flat straight connector | 0 | 30.63 | Hours | Condensation Labour | 100 | % | LBR | Yes | No |  | 0 | DELETE | 0 | No
Condensation control: Supply and install Wall Mounted Dryaire system & required accessories |  | Ducting - flat horizontal bend | 0 | 30.63 | Hours | Condensation Labour | 100 | % | LBR | Yes | No |  | 0 | DELETE | 0 | No
Condensation control: Supply and install Wall Mounted Dryaire system & required accessories |  | Ducting - flat vertical bend | 0 | 30.63 | Hours | Condensation Labour | 100 | % | LBR | Yes | No |  | 0 | DELETE | 0 | No
Condensation control: Supply and install Wall Mounted Dryaire system & required accessories |  | Ducting - flat - 1m | 0 | 30.63 | Hours | Condensation Labour | 100 | % | LBR | Yes | No |  | 0 | DELETE | 0 | No
Condensation control: Supply and install Wall Mounted Dryaire system & required accessories |  | Ducting - insulated flexi (3m Length) | 0 | 30.63 | Hours | Condensation Labour | 100 | % | LBR | Yes | No |  | 0 | DELETE | 0 | No
Condensation control: Supply and install Wall Mounted Dryaire system & required accessories |  | Grille | 0 | 30.63 | Hours | Condensation Labour | 100 | % | LBR | Yes | No |  | 0 | DELETE | 0 | No
Condensation control: Supply and install Wall Mounted Dryaire system & required accessories |  | Diamond core 107mm hole | 0 | 30.63 | Hours | Condensation Labour | 100 | % | LBR | Yes | No |  | 0 | DELETE | 0 | No
Condensation control: Supply and install Wall Mounted Dryaire system & required accessories |  | Condensation control: Supply and install Wall Mounted Dryaire system & required accessories - Materials | 1 | 0 | EACH | Condensation Materials | #DIV/0! | % | MTL | Yes | No | Preservation Shop | 0 | DELETE | 0 | Yes
Condensation control: Supply and install Wall Mounted Dryaire system & required accessories |  | Condensation control: Supply and install Wall Mounted Dryaire system & required accessories - Labour | 0 | #DIV/0! | Hours | Condensation Labour | #DIV/0! | % | LBR | Yes | No |  | 0 | DELETE | 0 | Yes
DELETE
Condensation control: Supply and install Trickle & Boost Fan |  | Trickle and boost humidistat fan (greenwood) | 5 | 70.2 | Each | Condensation Materials | 30 | % | MTL | Yes | No | Preservation Shop | 351 | DELETE | 456.3 | No
Condensation control: Supply and install Trickle & Boost Fan |  | Electrical Pack - fused spur, cable, JB | 0 | 12.46 | Each | Condensation Materials | 30 | % | MTL | Yes | No | Preservation Shop | 0 | DELETE | 0 | No
Condensation control: Supply and install Trickle & Boost Fan |  | Grille | 0 | 2.42 | Each | Condensation Materials | 30 | % | MTL | Yes | No | Preservation Shop | 0 | DELETE | 0 | No
Condensation control: Supply and install Trickle & Boost Fan |  | Diamond core 107mm hole | 0 | 0 | Each | Condensation Materials | 30 | % | MTL | Yes | No | Preservation Shop | 0 | DELETE | 0 | No
Condensation control: Supply and install Trickle & Boost Fan |  | Trickle and boost humidistat fan (greenwood) | 7.5 | 30.63 | Hours | Condensation Labour | 100 | % | LBR | Yes | No |  | 229.725 | DELETE | 459.45 | No
Condensation control: Supply and install Trickle & Boost Fan |  | Electrical Pack - fused spur, cable, JB | 0 | 30.63 | Hours | Condensation Labour | 100 | % | LBR | Yes | No |  | 0 | DELETE | 0 | No
Condensation control: Supply and install Trickle & Boost Fan |  | Grille | 0 | 30.63 | Hours | Condensation Labour | 100 | % | LBR | Yes | No |  | 0 | DELETE | 0 | No
Condensation control: Supply and install Trickle & Boost Fan |  | Diamond core 107mm hole | 0 | 30.63 | Hours | Condensation Labour | 100 | % | LBR | Yes | No |  | 0 | DELETE | 0 | No
Condensation control: Supply and install Trickle & Boost Fan |  | Condensation control: Supply and install Trickle & Boost Fan - Materials | 1 | 351 | EACH | Condensation Materials | 30 | % | MTL | Yes | No | Preservation Shop | 351 | LEAVE | 456.3 | Yes
Condensation control: Supply and install Trickle & Boost Fan |  | Condensation control: Supply and install Trickle & Boost Fan - Labour | 7.5 | 30.63 | Hours | Condensation Labour | 100 | % | LBR | Yes | No |  | 229.725 | LEAVE | 459.45 | Yes
DELETE
Condensation control: Supply and install Dryaire Cpass Insulated Pullcord Passive Vent |  | Dryaire Cpass (plasmo) insulated pullcord passive vent | 0 | 36.18 | Each | Condensation Materials | 30 | % | MTL | Yes | No | Preservation Shop | 0 | DELETE | 0 | No
Condensation control: Supply and install Dryaire Cpass Insulated Pullcord Passive Vent |  | Diamond core 107mm hole | 0 | 0 | Each | Condensation Materials | 30 | % | MTL | Yes | No | Preservation Shop | 0 | DELETE | 0 | No
Condensation control: Supply and install Dryaire Cpass Insulated Pullcord Passive Vent |  | Dryaire Cpass (plasmo) insulated pullcord passive vent | 0 | 30.63 | Hours | Condensation Labour | 100 | % | LBR | Yes | No |  | 0 | DELETE | 0 | No
Condensation control: Supply and install Dryaire Cpass Insulated Pullcord Passive Vent |  | Diamond core 107mm hole | 0 | 30.63 | Hours | Condensation Labour | 100 | % | LBR | Yes | No |  | 0 | DELETE | 0 | No
Condensation control: Supply and install Dryaire Cpass Insulated Pullcord Passive Vent |  | Condensation control: Supply and install Dryaire Cpass Insulated Pullcord Passive Vent - Materials | 1 | 0 | EACH | Condensation Materials | #DIV/0! | % | MTL | Yes | No | Preservation Shop | 0 | DELETE | 0 | Yes
Condensation control: Supply and install Dryaire Cpass Insulated Pullcord Passive Vent |  | Condensation control: Supply and install Dryaire Cpass Insulated Pullcord Passive Vent - Labour | 0 | #DIV/0! | Hours | Condensation Labour | #DIV/0! | % | LBR | Yes | No |  | 0 | DELETE | 0 | Yes
DELETE
Condensation control: Supply and install Dryaire CVent |  | Dryaire Cvent | 0 | 12.5 | Each | Condensation Materials | 30 | % | MTL | Yes | No | Preservation Shop | 0 | DELETE | 0 | No
Condensation control: Supply and install Dryaire CVent |  | Diamond core 107mm hole | 0 | 0 | Each | Condensation Materials | 30 | % | MTL | Yes | No | Preservation Shop | 0 | DELETE | 0 | No
Condensation control: Supply and install Dryaire CVent |  | Dryaire Cvent | 0 | 30.63 | Hours | Condensation Labour | 100 | % | LBR | Yes | No |  | 0 | DELETE | 0 | No
Condensation control: Supply and install Dryaire CVent |  | Diamond core 107mm hole | 0 | 30.63 | Hours | Condensation Labour | 100 | % | LBR | Yes | No |  | 0 | DELETE | 0 | No
Condensation control: Supply and install Dryaire CVent |  | Condensation control: Supply and install Dryaire CVent - Materials | 1 | 0 | EACH | Condensation Materials | #DIV/0! | % | MTL | Yes | No | Preservation Shop | 0 | DELETE | 0 | Yes
Condensation control: Supply and install Dryaire CVent |  | Condensation control: Supply and install Dryaire CVent - Labour | 1 | 0 | Hours | Condensation Labour | #DIV/0! | % | LBR | Yes | No |  | 0 | DELETE | 0 | Yes
|  |  | 0 | [10 empty] | DELETE
Airbricks |  | Clean out airbrick/fit new face | 0 | 16 | Each | Condensation Materials | 30 | % | MTL | Yes | No | Preservation Shop | 0 | DELETE | 0 | No
Airbricks |  | Lift/upgrade existing airbrick/fit new face | 0 | 16 | Each | Condensation Materials | 30 | % | MTL | Yes | No | Preservation Shop | 0 | DELETE | 0 | No
Airbricks |  | Install additional airbrick | 0 | 16 | Each | Condensation Materials | 30 | % | MTL | Yes | No | Preservation Shop | 0 | DELETE | 0 | No
Airbricks |  | Clean out airbrick/fit new face | 0 | 30.63 | Hours | Condensation Labour | 100 | % | LBR | Yes | No |  | 0 | DELETE | 0 | No
Airbricks |  | Lift/upgrade existing airbrick/fit new face | 0 | 30.63 | Hours | Condensation Labour | 100 | % | LBR | Yes | No |  | 0 | DELETE | 0 | No
Airbricks |  | Install additional airbrick | 0 | 30.63 | Hours | Condensation Labour | 100 | % | LBR | Yes | No |  | 0 | DELETE | 0 | No
Airbricks |  | Airbricks - Materials | 1 | 0 | EACH | Condensation Materials | #DIV/0! | % | MTL | Yes | No | Preservation Shop | 0 | DELETE | 0 | Yes
Airbricks |  | Airbricks - Labour | 0 | #DIV/0! | Hours | Condensation Labour | #DIV/0! | % | LBR | Yes | No |  | 0 | DELETE | 0 | Yes
DELETE
Joinery: Supply and fit boxwork for ducting |  | Joinery: Supply and fit boxwork for ducting - Materials | 0 | 0 | Each | Condensation Materials | 30 | % | MTL | Yes | Yes | Preservation Shop | 0 | DELETE | 0 | Yes
Joinery: Supply and fit boxwork for ducting |  | Joinery: Supply and fit boxwork for ducting - Labour | 0 | 30.63 | Hours | Condensation Labour | 100 | % | LBR | Yes | Yes |  | 0 | DELETE | 0 | Yes
DELETE
New hatch and ladder: Create larger opening, install new sturdy hatch and ladder to loft entry |  | New hatch and ladder: Create larger opening, install new sturdy hatch and ladder to loft entry - Materials | 0 | 360 | Each | Condensation Materials | 30 | % | MTL | Yes | Yes | Preservation Shop | 0 | DELETE | 0 | Yes
New hatch and ladder: Create larger opening, install new sturdy hatch and ladder to loft entry |  | New hatch and ladder: Create larger opening, install new sturdy hatch and ladder to loft entry - Labour | 0 | 30.63 | Hours | Condensation Labour | 100 | % | LBR | Yes | Yes |  | 0 | DELETE | 0 | Yes
DELETE
Loft opening: Enlarge existing loft opening and install new hatch lid |  | Loft opening: Enlarge existing loft opening and install new hatch lid - Materials | 0 | 45 | Each | Condensation Materials | 30 | % | MTL | Yes | Yes | Preservation Shop | 0 | DELETE | 0 | Yes
Loft opening: Enlarge existing loft opening and install new hatch lid |  | Loft opening: Enlarge existing loft opening and install new hatch lid - Labour | 0 | 30.63 | Hours | Condensation Labour | 100 | % | LBR | Yes | Yes |  | 0 | DELETE | 0 | Yes
DELETE
Remedial treatments: Mould treatment |  | Remedial treatments: Mould treatment - Materials | 6 | 0.5 | M2 | Condensation Materials | 30 | % | MTL | Yes | No | Preservation Shop | 3 | LEAVE | 3.9 | Yes
Remedial treatments: Mould treatment |  | Remedial treatments: Mould treatment - Labour | 1.5 | 30.63 | Hours | Condensation Labour | 100 | % | LBR | Yes | No |  | 45.945 | LEAVE | 91.89 | Yes
DELETE
Asbestos Testing |  | Asbestos Testing - Materials | 0 | 30 | Each | Condensation Materials | 30 | % | MTL | Yes | Yes | Preservation Shop | 0 | DELETE | 0 | Yes
Asbestos Testing |  | Asbestos Testing - Labour | 0 | 30.63 | Hours | Condensation Labour | 100 | % | LBR | Yes | Yes |  | 0 | DELETE | 0 | Yes
DELETE
Project Specific Overheads |  | Skips | 0 | 270 | Each | Waste Removal | 30 | % | Other | Yes | No |  | 0 | DELETE | 0 | No
Project Specific Overheads |  | Vehicle Costs (Fuel) | 92 | 0.5 | Miles | Travel Costs | 0 | % | Other | Yes | No |  | 46 | DELETE | 46 | No
Project Specific Overheads |  | Travel Costs for Tradesmen | 3.0667 | 30.63 | Hours | Travel Costs | 0 | % | LBR | Yes | No |  | 93.932 | DELETE | 93.932 | No
Project Specific Overheads | (May cover any or all of the following: Covers Health & Safety, Tooling Equipment, Access Equipment, Specialist Equipment, Waste Removal & Disposal, Project Management Administration etc.) | Project Specific Overheads - Materials | 1 | 46 | EACH | Condensation Materials | 0 | % | MTL | Yes | No | Preservation Shop | 46 | LEAVE | 46 | Yes
Project Specific Overheads | (May cover any or all of the following: Covers Health & Safety, Tooling Equipment, Access Equipment, Specialist Equipment, Waste Removal & Disposal, Project Management Administration etc.) | Project Specific Overheads - Labour | 3.0667 | 30.63 | Hours | Condensation Labour | 0 | % | LBR | Yes | No |  | 93.932 | LEAVE | 93.932 | Yes

## Data Lists
Data Lists For Contractor Foreman
These are used to differentiate between the types of items and used for the labor calculations.
Contractor Foreman Item Types
Item | Comments
EQUIP | Equipment Items
LBR | Labor items
MTL | Material Items
Other | Other Items
SUB | Subcontractors
This is used to 'Group' items in a logical order on the estimate.
Sections
Item | Comments
Condensation control: Supply and install Loft Dryaire system & required accessories | n/a
Condensation control: Supply and install Wall Mounted Dryaire system & required accessories | n/a
Condensation control: Supply and install Trickle & Boost Fan | n/a
Condensation control: Supply and install Dryaire Cpass Insulated Pullcord Passive Vent | n/a
Condensation control: Supply and install Dryaire CVent | n/a
Airbricks | n/a
Joinery: Supply and fit boxwork for ducting | n/a
New hatch and ladder: Create larger opening, install new sturdy hatch and ladder to loft entry | n/a
Loft opening: Enlarge existing loft opening and install new hatch lid | n/a
Remedial treatments: Mould treatment | n/a
Asbestos Testing | n/a
Project Specific Overheads | n/a
This is used in the projects to determine costs by the 'Cost Code' category (lets you see which areas you are over or under budget on).
Cost Codes
Item | Comments
Condensation Equipment | n/a
Condensation Labour | n/a
Condensation Materials | n/a
Condensation Other | n/a
Condensation Sub Contractors | n/a
Travel Costs | n/a
Waste Removal | n/a
This is used to on the items for costing reference
Unit of measures
Item | Comments
Each | n/a
M2 | n/a
M3 | n/a
Hours | n/a
LM | n/a
Miles | n/a
Bags | n/a
Pairs | n/a
CSV Import File Name Creator
CSV File Name | CF-Condensation-PIV-
Current Date | 25-11-25-14-57-56
Full File Name | CF-Condensation-PIV-25-11-25-14-57-56
File Name Creator
PDF Report Name | PRONE455DN-CONDENSATION-PIV-REPORT-25-11-25-14-57-56
Section Price Adjustment % Values
-5
-4
-3
-2
-1
0
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50

## Changes
Date | Version From | Version To | Change
2024-04-11 | 17 | 18 | Add VBA to updated the file name (date) on each click as the file names only changed on open so if clicking multiple times it was trying to save the same file again which is confusing)
2024-04-11 | 17 | 18 | Added Sub Contractor 'clarity' section on costing sheet - Vat registered and non vat registered
2024-05-13 | 18 | 19 | Added the word trunking along with ducting etc.
2024-05-28 | 19 | 20 | Changed ambiguous wording to roof vents to 'Customer to …'.
2024-05-28 | 19 | 20 | Added deposit value ex vat and inc vat for card readers.
2024-06-17 | 20 | 21 | Added Section Price Adjustment %.
2024-07-16 | 21 | 22 | Added external defects & airbricks section to the report.
2024-07-18 | 22 | 23 | Re-arranged the external defects section to be put at the bottom of the report.
2024-07-22 | 23 | 24 | Fixed conditional logic issue which was showing a row on the report when it shouldn't have been.
2024-09-04 | 25 | 26 | Added conditional logic to Defects section on report so that it pre-populates more cells as requested by GH. Also removed the Office comments section at the bottom of the report as it is hiiden when the filter is applied so this is replaced with an 'Office Notes' tab.
2024-09-27 | 26 | 27 | Changed wording on Projects Specific Overheads to make it look more generic and to cover more areas and removed the vehicle costs statement. Added the On Site Approval Form Tab.
2024-11-04 | 27 | 28 | Increased rate from £30 to £30.63 to cover for Employers NI increase.
2024-12-19 | 28 | 29 | Allowed the editing of the customer summary lines for the surveyors including being able to set something as optional. Updated the wording etc on the 'Overheads' sections to olny show as Lab and Mats and added the description field to the csv upload as the wording was being cut off in the title.
2025-01-27 | 29 | 30 | Added Estimate Coversheet Selections To Cost Sheet.
2025-02-03 | 30 | 31 | Updated pricing on the PIV units due to supplier price increase.
2025-02-10 | 31 | 32 | Added more coversheet images
2025-06-06 | 32 | 33 | Project Specifics Overhead description amended on csv upload for change to CF estimate to make it clear that the overheads may contain all or some of the items mentioned.
2025-10-02 | 33 | 34 | "Fixed margin value column on csv import for beta estimates. Applied filter to costing sheet for the headers."
2025-10-25 | 34 | 35 | Reduced cost of asbesto testing as requested by MD
2025-11-07 | 35 | 36 | Updated costs on PIV loft units.
2025-11-13 | 36 | 37 | Updated master password.